Formulas, Equations & Laws Symbolic: E =VOLTS ~or~ (V = VOLTS) P =WATTS ~or~ (W = WATTS) R = OHMS ~or~ (R = RESISTANCE) I =AMPERES ~or~ (A = AMPERES) HP = HORSEPOWER PF = POWER FACTOR kW = KILOWATTS kWh = KILOWATT HOUR VA = VOLT-AMPERES kVA = KILOVOLT-AMPERES C = CAPACITANCE EFF = EFFICIENCY (expressed as a decimal). DIRECT CURRENT. AMPS=; WATTS÷VOLTS; I = P ÷ E; A = W ÷ V. WATTS=; VOLTS x AMPS; P = E x I; W = V x A. VOLTS=; WATTS ÷ AMPS; E = P ÷ I; V = W ÷ A. HORSEPOWER=; (V x A x EFF)÷746. EFFICIENCY=; (746 x HP)÷(V x A).. AC SINGLE PHASE ~ 1ø. AMPS=; WATTS÷(VOLTS x PF); I=P÷(E x PF); A=W÷(V x PF). WATTS=; VOLTS x AMPS x PF; P=E x I x PF; W=V x A x PF. VOLTS=; WATTS÷AMPS; E=P÷I; V=W÷A. VOLT-AMPS=; VOLTS x AMPS; VA=E x I; VA=V x A. HORSEPOWER=; (V x A x EFF x PF)÷746. POWERFACTOR=; INPUT WATTS÷(V x A). EFFICIENCY=; (746 x HP)÷(V x A x PF).. AC THREE PHASE ~ 3ø. AMPS=; WATTS÷(1.732 x VOLTS x PF); I = P÷(1.732 x E x PF). WATTS=; 1.732 x VOLTS x AMPS x PF; P = 1.732 x E x I x PF. VOLTS=; WATTS÷AMPS; E=P÷I. VOLT-AMPS=; 1.732 x VOLTS x AMPS; VA=1.732 x E x I. HORSEPOWER=; (1.732 x V x A x EFF x PF)÷746. POWERFACTOR=; INPUT WATTS÷(1.732 x V x A). EFFICIENCY=; (746 x HP)÷(1.732 x V x A x PF)..

Information provided by: http://www.angelfire.com